ITEM NO.: LS-1241

ASSEMBLY INSTRUCTIONS:
· WARNING: TO AVOID RISK OF ELECTRIC SHOCK. BE SURE TO SHUT MAIN POWER OFF AT BREAKER BOX WHILE INSTALLING OR SERVICING THIS FIXTURE.     

[image: image1.wmf] 


[image: image2.wmf] 


CANOPY INSTALLATION

Step 1. If installing the LED strip (1) into a canopy, place the canopy on a clean, flat surface so that the ceiling of the canopy is facing upwards for easier installation.

Step 2. Place the LED strip (1) into the canopy and situate it to maximize the lighting effect and to allow room for connecting multiple units. Make sure that there is a path to one of the ends of the strip for routing the cord leading to the transformer (2). Mark the location of the LED strip (1) into the canopy using a pencil or pen.

Step 3. Mount the retaining clip (3) into the canopy using the included screws (5) and rubber plug (4), making sure the head of the screw (5) is flush with the base of the retaining clip (3).

Step 4. Attach the quick disconnect leading from the transformer (2) to the LED strip (1) but do not plug the transformer (2) into a power outlet. Carefully route the cord along the ceiling of the canopy from the LED strip (1) connection to the transformer (2), guides if necessary. Allow for enough slack in the cable to create a drip loop where the transformer (2) will plug into the power outlet.

Step 5. Use the LED lamp linking cable (6) to connect a LED lamp Linking module (if applicable) to the main LED lamp lighting system. Up to two modules (sold separately) can be added to each LED lamp lighting system.

Step 6. Plug the transformer (2) into a 110-120V power outlets and enjoy.

LINKING MODULES

The LED lamp (LED Strip Lights). Two LED modules can be added to the main unit powered by the transformer.  

                                                                                                            CAUTION:
1. Carefully remove the lighting fixture/module from packaging.

2. Make sure transformer connector is placed completely into the module socket.

3. Plug the power cords into power outlets.

4. If you wish to use automatic light features, plug the wall transformer into timer before plugging into the power outlets. One transformer can drive 3pcs of LS-1241 LED strip with linking cable or drive one piece of LS-1241 and a LS-1242 with linking cable.

5. Do not use one transformer to drive two LS-1242, 8W LED strip.

WARNING:

1. Connect the quick disconnect leading from the transformer to the Line-in socket (switch side) of the strip only.

2. Connect other strips in tandem to the first stir with the linkable cable provided, from the Line-out side to the Line-in (switch side) side only.
· PLEASE INFORM YOUR DEALER IMMEDIATELY IN CASE OF ANY PARTS SHORTAGE.

· [image: image3.wmf](1)

(2)

(3)

(4)

(5)

(6)

Power outlet

SAVE THESE INSTRUCTIONS FOR FUTURE REFERENCE.

ITEM NO.: LS-1241

CAUTION:

[image: image4.wmf] 

[image: image5.jpg]CAUTION:

When using more than one LED strip ,all the
switch should be on "I"(ON) position after plug
transformer into a power outlet.

|ght V7 (0N
\//] INP;;) ng ogpu‘r 0 (OFF)

¥ Ls-1241(4W)*1

INPUT OUTPUT INPUT OUTPUT

7 ya
H[so  oss0O ano oNsO ©

¥ LS-1241(aW)y*2

INPUT #  outPur INPUT " __ourpur INPUT # __ourpur

/B0 os\S0O ano oON0O O B0 ONSO O

¥ LS-1241(4W)*3

INPUT pd OUTPUT INPUT yd OUTPUT

H[B0 o\ SO oer O O ONO O O O

¥ LS-1241(4W)+LS-1242(8W)

¥ LS-1241(4W)*1

AN ya INPUT

oéo e]:]

OUTPUT ~ g INPUT OUTPUT « g INPUT OUTPUT \ INPUT

A 6l O oéo OEUO oéo o [©] O§O (@]
i

QUTPUT \ g INPUT QUTPUT «~ 2 INPUT

H| O OéO OHUO ] [®] O§O ] [©] os

¥ LS-1241(4W)+LS-1242(8W)




When using more than one LED strip, all the switchs should be on “l”(ON) position after plugging transformer into a power outlet.

LED Strip


Transformer


Retaining Clip


Rubber Plug


Screw


Linking Cable








� EMBED Word.Picture.8  ���





� EMBED Word.Picture.8  ���











_1259669318.doc
[image: image1.png]|70
LITE SOURCE INC.

CHINO, CA 21710







