Item No: LS-19473

[image: image1.wmf] 

Assembly Instructions:

1. Carefully unpack and place all parts on a flat surface.

2. Shut off power at the fuse box or circuit breaker box. Remove the old fixture from ceiling, including the old crossbeam.
3. Connect the green (ground) wire from fixture to ground from house.
4. Connect the black (live) wire from fixture to live wire from house, connect 

white (neutral) wire from fixture to neutral from house.

5. Put the crossbeam (1) onto the ceiling box, then secure crossbeam (1) with the screw (2).

6. Fix the nipple (4) to crossbeam (1).

7. Put the metal cup (3) over the nipple and put the canopy (7) over the nipple, then 

Secure the canopy (7) to nipple (4) with washer (5) and screw (6) by wrench (10). 
8. Put the metal cover (11) into the canopy (7), then affix the metal cover (11) with

washer (8) and screw (9).

9. Place the glass shade (13) onto the socket (12), then screw the metal ring onto socket with tool (15) until snug..

10.Insert the 12V MR16 35W G5.30 bulb (16) into the socket (three Bulbs included).
11.Insert the lamp body into the canopy and twist in clockwise direction.
12.Enjoy your lamp.

SUPPLIED WITH UV PROTECTIVE GLASS SHIELD

This unit is provided with a protective glass shield which provides ultraviolet radiation protection.

[image: image2.jpg]WI.;TE SOURCE INC.

CHINO, <€A 91710



User is cautioned to replace these protective shields after either installation or replacement of tungsten halogen bulbs.
PLEASE INFORM YOUR DEALER IMMEDIATELY IN CASE OF ANY PARTS SHORTAGE.

· SAVE THESE INSTRUCTIONS FOR FUTURE REFERENCE.

� EMBED Word.Picture.8  ���











_1165222759.doc
[image: image1.png]- N

—11

4
5
16








