ITEM NO.:LS-80910
VERY IMPORTANT

PLEASE READ THOROUGHLY. MAKE SURE YOU PROPERLY ALIGN POLES BEFORE YOU START TO SCREW THEM TOGETHER. TO AVOID DAMAGING CONNECTION THREADS. NOT ADHERING TO THIS PROCEDURE MAY VOID YOUR WARRANTY!
INSTRUCTIONS PERTAINING TO A RISK OF FIRE. ELECTRIC SHOCK EXPOSURE TO EXCESSIVE UV RADIATION OR INJURY TO PERSONS.

IMPORTANT SAFETY INSTRUCTIONS LIGHTED LAMP IS HOT!
WARNING-TO REDUCE THE RISK OF FIRE, ELECTRIC SHOCK, EXPOSURE TO EXCESSIVE UV RADIATION, OR INJURY TO PERSONS:
( Turn off/unplug and allow to cool before replacing bulb.

( Bulb gets HOT quickly! Only contact switch/plug when turning on.

( Do not touch hot lens, guard or enclosure.
( Do not stay in light of skin feels warm.

( Do not look directly at lit bulb.

( Keep lamp away from materials that may burn.

( Use only with a 180W or smaller lamp.

( Do not touch the bulb at any time. Use a soft cloth. Oil from skin may damage bulb.

( Do not operate the lamp with a missing a damaged guard, lamp containment barrier or UV light filter!
BULB INSTALLATION/REPLACEMENT
Important: Always unplug the power cord before installing or replacing bulb and before cleaning or other maintenance.

1. If shield is pre-installed, then loosen spring (loosen screw on both slips) and remove the bent glass shield.

2. Remove bulb from box, DO NOT remove the protective wrapping or touch bulb with bare fingers at any time. Expose the ends of the bulb and gently place one end then the other into fixture. Be sure that both ends of bulb
      are touching metal contacts. NOW REMOVE WRAPPING

3. Place bent tempered glass over the bulb and then attach with set screws provided. Tighten shield well.

4. Repeat above steps when relamping.

[image: image1.wmf]
[image: image2.wmf]
[image: image3.wmf]ITEM NO.:LS-80910
ASSEMBLY INSTRUCTIONS
1. When ready to assemble, place all parts on a flat and scratch

resistant surface.

2. Screw shade (A) onto top pole (B).

3. Screw middle pole (C) onto bottom pole (D) and then onto the base (E). (Gently put the excessive wire into the upper pole).

4. Screw top pole (B) onto the middle pole (C). (Gently put the excessive wire into the upper pole).

5. Insert plug into wall outlet and enjoy your lamp.
6. Use a max Type-J 180 watt bulb (bulb included).

7. Insert plug into wall outlet. Turn on the switch and enjoy your lamp.

8. This lamp comes with a circuit breaker (F). Lamp will not light if the

bulb is higher than 180W.

Note: Prior to turning floor lamp on for use, please make sure that you 

have plugged in the power supply plug, make sure that switch is in the off position. Press switch on the circuit breaker box (F) to on then you may use switches for full range of light. If at any time the circuit breaker (F) needs to be reset, repeat above procedure to make light fully operational.

 Maintenance

( Finger prints may cause glass shield and/or bulb to crack and reduce
 lamp life. (Shield/bulb can be cleaned with a soft cloth).

[image: image4.wmf] 

( Follow instructions on relamping label near bulb to ensure maximum
 safety and ensure many years of lighting pleasure.

* This lamp comes with the heat guard which is required by the new UL regulation.

INSTALLATION OF MESH COVER (HEAT GUARD)

1. Put the mesh cover over the shade.
2. Put the clip on the mesh cover, align the holes.
3. [image: image5.wmf] 

[image: image6.wmf] 

Slide the clip into the edge of the shade and fasten the screw.
[image: image7.jpg]SHIELD SCREEW

5

@ SHADE &

—TOP POLE ®

I

——MIDDLE POLE ©

-

—BOTTOM POLE ©

BiSE ®

“ie

WATTAGE LIMITED
DEVICE




ITEM NO.:LS-80910
IMPORTANT SAFETY INSTRUCTIONS

This portable lamp has a polarized plug (one blade is wider than the other) as a feature to reduce the risk of electric shock. This plug will fit in a polarized outlet only one way. If the plug does not fit fully in the outlet, reverse the plug. If it still does not fit, contact a qualified electrician. Never use with an extension cord unless plug can be fully inserted. Do not alter the plug.

SUPPLIED WITH UV PROTECTIVE GLASS SHIELD

This unit provided with a protective glass shield which provides ultraviolet radiation protection. User is
 
cautioned to replace these protective shields after either installation or replacement of tungsten halogen bulb.
*Please inform your dealer immediately in case of any parts shortage.
*Save these instructions for future references.

� EMBED AutoCAD.Drawing.16  ���

















CIRCUIT BREAKER (F)





� EMBED AutoCAD.Drawing.16  ���





� EMBED AutoCAD.Drawing.16  ���





�








�




















_1187531727.dwg

_1187531938.dwg

_1187531197.dwg

